## japanese
name | label | description
title_study | 研究タイトル
principle_investigator | 研究責任者 | データ取得を担当した人物または研究室を記載してください。
institution | 所属機関 | データ取得を行った機関を記載してください。
corresponding_email | 連絡先メールアドレス | 対応すべき連絡先のメールアドレスを記載してください。
workflow_targeted | ワークフローの種類（ターゲット/ノンターゲット） | ターゲット型は通常SIMやSRMに基づき、スキャンベースはノンターゲットとみなされます。
workflow_targeted#targeted | ターゲット
workflow_targeted#untargeted | ノンターゲット
clinical | 臨床リピドミクス | 臨床リピドミクスは、定量的かつ検証済みの方法を用いたヒト試料の研究を指します。臨床診断法を用いた研究に限らず、臨床応用に向けた脂質の開発と検証を目的とする研究も含みます。
clinical#yes | はい
clinical#no | いいえ
extraction_method | 抽出法 | 適用した脂質抽出法の種類を指定してください。
extraction_method#1-phase_system | 単相系抽出
extraction_method#2-phase_system | 二相抽出
extraction_method#solid-phase_extraction | 固相抽出
extraction_method#other | その他
other_extraction_method | その他の抽出法 | その他の抽出法を適用した場合、可能であればPubMed IDまたはDOIを記載してください。
ph_adjustment | pH調整 | 抽出時にpHを調整しましたか？ はいの場合、使用した緩衝液や酸・塩基を記載してください。
ph_adjustment#none | なし
ph_adjustment#hydrochloric_acid | 塩酸
ph_adjustment#citric_acid | クエン酸
ph_adjustment#citrate_salt | クエン酸塩
ph_adjustment#ammonium_formate | ギ酸アンモニウム
ph_adjustment#other | その他
other_ph_adjustment | その他のpH調整 | その他のpH調整方法を記載してください。
1-phase_system | 単相系抽出 | 単相系の種類（タンパク質沈殿に使用した有機溶媒）を指定してください。
1-phase_system#acetonitrile | アセトニトリル
1-phase_system#isopropanol | イソプロパノール
1-phase_system#methanol | メタノール
1-phase_system#ethanol | エタノール
1-phase_system#butanol | ブタノール
1-phase_system#butanol/methanol_1_1 | ブタノール/メタノール (1/1)
1-phase_system#butanol/methanol_3_1 | ブタノール/メタノール (3/1)
1-phase_system#other | その他
other_1-phase_system | その他の単相系 | その他の単相系（タンパク質沈殿用）を記載してください。
2-phase_system | 二相抽出 | 二相抽出の種類（その他の場合は文献等の情報を記載してください）。
2-phase_system#folch | フォルチ法
2-phase_system#bligh_dyer | ブライ&ダイヤー法
2-phase_system#mtbe | MTBE
2-phase_system#bume | BUME
2-phase_system#2-step_extraction | 2段階抽出
2-phase_system#other | その他
other_2-phase_system | その他の二相抽出 | その他の二相抽出法を記載してください。
solid-phase_extraction | 固相抽出 | SPEで適用した分離モードを指定してください。
solid-phase_extraction#reverse-phase | 逆相
solid-phase_extraction#normal-phase | 順相
solid-phase_extraction#ion_exchange | イオン交換
solid-phase_extraction#mixed_mode | ミックスモード
solid-phase_extraction#other | その他
other_solid-phase_extraction | その他の固相抽出 | その他の固相抽出法を記載してください。
special_conditions | 特別な抽出条件 | 低温/高温、抗酸化剤の使用、強力撹拌、超音波処理などの特別な抽出条件は適用されましたか？
derivatization | 誘導体化 | 適用した場合は、誘導体化の内容を記載してください。
desiccation_time | 乾燥時間 [min]
tissue_washing | 組織/試料の洗浄 | 組織/試料の洗浄は行われましたか？
tissue_washing#yes | はい
tissue_washing#no | いいえ
what_washing | 洗浄方法 | 組織/試料の洗浄はどのように実施しましたか？
additional_chemistry | 追加の化学処理 | （例：酵素消化、誘導体化など）追加の化学処理は行いましたか？
additional_chemistry#yes | はい
additional_chemistry#no | いいえ
what_chemistry | 化学処理の内容 | 追加で実施した化学処理（例：酵素消化、誘導体化）を記載してください。
internal_standards | 内部標準の使用 | 該当する場合、使用した標準物質と使用方法を記載してください。
internal_standards#yes | はい
internal_standards#no | いいえ
deposition_method | 塗布法 | どの塗布法を使用しましたか？
int_standards_used | 使用した内部標準 | 使用した内部標準を記載してください。
approx_number | 概算量 [µmol/mm<sup>2</sup>]
source_type | ソースタイプ
source_type#MALDI | MALDI
source_type#LDI | LDI
source_type#LAESI | LAESI
source_type#IRMALDESI | IR-MALDESI
source_type#DESI | DESI
source_type#nanoDESI | nano-DESI
source_type#LESA | LESA
source_type#SIMS | SIMS
source_type#other | その他
other_source_type | その他のソースタイプ | その他のイオン源タイプを記載してください。
matrix_used | 使用マトリックス
matrix_used#25dha | 2,5-DHA
matrix_used#dhb | DHB
matrix_used#norharmane | Norharmane
matrix_used#da | DA
matrix_used#9aahaba | 9-AA HABA
matrix_used#dan | DAN
matrix_used#chca | CHCA
matrix_used#nedc | NEDC
matrix_used#other | その他
matrix_used#no | いいえ
other_matrix_used | その他のマトリックス | その他のマトリックスを記載してください。
dopants | ドーパント
dopants#fa | ギ酸
dopants#nh4oac | NH<sub>4</sub>OAc
dopants#other | その他
dopants#no | いいえ
other_dopants | その他のドーパント | その他のドーパントを記載してください。
deposition | マトリックスの塗布法と装置
deposition#sublimation | 昇華
deposition#spraying | スプレー塗布
deposition#other | その他
other_deposition | その他の塗布方法 | その他の塗布方法を記載してください。
wavelength | レーザー波長 [nm]
pulse_energy | レーザーパルスエネルギー [µJ]
frequency | 周波数 [Hz] | 1 Hz は連続レーザーに相当します。
laser_shots | ピクセル当たりのレーザーショット数
laser_spot_size | レーザースポット径 [µm]
pixel_size | ピクセルサイズ [µm]
spray_solution | スプレー溶液
flow_rate | 流量 [mL/min]
pressure | 圧力 [psi]
spray_voltage | スプレー電圧 [V]
ion_type | 一次イオン種
ion_type#argon | アルゴン
ion_type#oxygen | 酸素
ion_type#sf6 | SF6
ion_type#c60 | C60
ion_type#cesium | セシウム
ion_type#liq_metal | 液体金属
ion_type#cluster | 水クラスター
ion_type#other | その他
other_ion_type | その他の一次イオン種 | その他の一次イオン種を記載してください。
cluster_size | 平均クラスターサイズ
beam_type | ビームタイプ
beam_type#pulsed | パルス
beam_type#continuous | 連続
ion_dose | イオンドース [一次イオン/cm²]
sputter | スパッタ/深さプロファイリング
sputter#yes | はい
sputter#no | いいえ
profiling_type | プロファイリング種類 | プロファイリングの種類を記載してください。
beam_voltage | ビーム加速電圧 [kV]
beam_current | ビーム電流 [pA]
beam_diameter | ビーム径/スポットサイズ [µm]
beam_frequency | ビーム周波数 [Hz]
acquisition_time | ピクセル当たりの取得時間 [s]
post_ionization | ポストイオン化の使用
post_ionization#yes | はい
post_ionization#no | いいえ
post_ionization_type | ポストイオン化の種類
post_ionization_typee#MALDESI | MALDESI
post_ionization_type#MALDI2 | MALDI2
post_ionization_type#Plasma | プラズマ
post_ionization_type#other | その他
other_post_ionization_type | その他のポストイオン化の種類 | その他のポストイオン化の種類を記載してください。
ionization_add | イオン化添加剤 | 使用したイオン化添加剤を記載してください。
ionization_add#amma | 酢酸アンモニウム
ionization_add#ammf | ギ酸アンモニウム
ionization_add#fa | ギ酸
ionization_add#aa | 酢酸
ionization_add#m | メチルアミン
ionization_add#amm | アンモニア
ionization_add#lh | 水酸化リチウム
ionization_add#other | その他
other_ionization_add | その他のイオン化添加剤 | その他のイオン化添加剤を記載してください。
number_of_separation_dimensions | 分離次元数 | 適用した分離次元数を指定してください。
number_of_separation_dimensions#one_dimension | 1次元
number_of_separation_dimensions#two_dimensions | 2次元
separation_type_1 | 分離タイプ1 | 適用した分離の種類を指定してください。
separation_type_1#gc | GC
separation_type_1#lc | LC
separation_type_1#sfc | SFC
separation_type_1#tlc | TLC
separation_type_1#other | その他
other_sep_type1 | その他の分離タイプ1 | その他の分離タイプ（1）を記載してください。
other_sep_generic1 | 分離モード1（一般） | 適用した分離モード（1）を記載してください。
separation_mode_1_liquid | 分離モード1（液体） | 適用した分離モードを指定してください。
separation_mode_1_liquid#np | NP
separation_mode_1_liquid#hilic | HILIC
separation_mode_1_liquid#rp | RP
separation_mode_1_liquid#other | その他
other_sep_mode1 | その他の分離モード1（液体） | その他の液体分離モード（1）を記載してください。
ms_separation_mode_1_gas | 分離モード1（GC） | 気相分離モードを記載してください。
separation_window | 分離ウィンドウ（±分）
separation_type_2 | 分離タイプ2 | 適用した分離の種類を指定してください。
separation_type_2#lc | LC
separation_type_2#sfc | SFC
separation_type_2#tlc | TLC
separation_type_2#other | その他
other_sep_type2 | その他の分離タイプ2 | その他の分離タイプ（2）を記載してください。
other_sep_mode2 | 分離モード2（一般） | 適用した分離モード（2）を記載してください。
separation_type_2_gc | 分離タイプ2（GC） | 適用した分離の種類を指定してください。
separation_type_2_gc#gc | GC
ms_separation_mode_2_gas | 分離モード2（GC） | 適用した分離モードを指定してください。
detector | 検出器
detector#ms | 質量分析計
detector#fid | 水素炎イオン化検出器（FID）
rt_verification | 保持時間の検証
rt_verification#yes | はい
rt_verification#no | いいえ
ms_type | MSタイプ
ms_type#q | Q
ms_type#tof | TOF
ms_type#qqq | QQQ
ms_type#qtrap | QTrap
ms_type#fticr | FTICR
ms_type#orbitrap | Orbitrap
ms_type#qtof | QTOF
ms_type#fticr2 | FTICR
ms_type#icr | ICR
ms_type#other | その他
other_ms_type | その他のMSタイプ | その他のMSタイプを記載してください。
ms_vendor | MSベンダー | 質量分析計のベンダーを記載してください。
ms_vendor#agilent | Agilent
ms_vendor#bruker | Bruker
ms_vendor#sciex | SCIEX
ms_vendor#shimadzu | 島津
ms_vendor#thermo | Thermo
ms_vendor#waters | Waters
ms_vendor#other | その他
other_ms_vendor | その他のMSベンダー | その他のMSベンダーを記載してください。
ion_source | イオン源 | どのイオン源を使用しましたか？
ion_source#esi | ESI
ion_source#apci | APCI
ion_source#appi | APPI
ion_source#maldi | MALDI
ion_source#other | その他
other_ion_source | その他のイオン源 | その他のイオン源を記載してください。
ion_source_gc | イオン源（GC） | どのイオン源を使用しましたか？
ion_source_gc#ei | EI
ion_source_gc#other | その他
other_ion_source_gc | その他のイオン源（GC） | その他のイオン源を記載してください。
separation_window_1 | イオン化エネルギー | 使用したイオン化エネルギー [eV] を記載してください。
direct_type | 直接導入タイプ | 直接導入（ダイレクトMS）で使用したインレットを記載してください。
direct_type#syringe | シリンジ
direct_type#fia | FIA
direct_type#chip | チップ
direct_type#other | その他
other_direct_type | その他の直接導入タイプ | 直接導入で使用したその他のインレットを記載してください。
ms_level | MSレベル | 同定に用いたMSレベルを選択してください。
ms_level#ms1 | MS<sup>1</sup>
ms_level#ms2 | MS<sup>2</sup>
ms_level#msn | MS<sup>n</sup>
mass_resolution_ms1 | 検出イオンの質量分解能（MS<sup>1</sup>） | 検出イオンに対して適用した質量分解能を指定してください。
mass_resolution_ms1#low_resolution | 低分解能
mass_resolution_ms1#high_resolution | 高分解能
resolution_ms1_low | MS<sup>1</sup>での分解能
resolution_ms1_low#low | 低
resolution_ms1_low#unit | ユニット
resolution_ms1_low#high | 高
resolution_mz_ms1 | m/z 200での分解能（MS<sup>1</sup>） | m/z 200 におけるFWHM分解能を指定してください。
mass_accuracy_ppm_ms1 | 質量精度 (ppm)（MS<sup>1</sup>）
rec_mode_ms1 | 生データの記録モード（MS<sup>1</sup>）
rec_mode_ms1#centroid | セントロイドモード
rec_mode_ms1#profile | プロファイルモード
mass_window_precursor_ion_isolation | プレカーサーイオン分離の質量ウィンドウ（全幅, Da） | MS<sup>2</sup>以上の場合、プレカーサー選択に用いた質量ウィンドウ（全幅、Da）を指定してください。
mass_resolution_ms2 | 検出イオンの質量分解能（MS<sup>2</sup>） | 検出イオンに対して適用した質量分解能を指定してください。
mass_resolution_ms2#low_resolution | 低分解能
mass_resolution_ms2#high_resolution | 高分解能
resolution_ms2_low | MS<sup>2</sup>での分解能
resolution_ms2_low#low | 低
resolution_ms2_low#unit | ユニット
resolution_ms2_low#high | 高
resolution_mz_ms2 | m/z 200での分解能（MS<sup>2</sup>） | m/z 200 におけるFWHM分解能を指定してください。
mass_accuracy_ppm_ms2 | 質量精度 (ppm)（MS<sup>2</sup>）
rec_mode_ms2 | 生データの記録モード（MS<sup>2</sup>）
rec_mode_ms2#centroid | セントロイドモード
rec_mode_ms2#profile | プロファイルモード
mass_resolution_msn | 検出イオンの質量分解能（MS<sup>n</sup>） | 検出イオンに対して適用した質量分解能を指定してください。
mass_resolution_msn#low_resolution | 低分解能
mass_resolution_msn#high_resolution | 高分解能
resolution_msn_low | MS<sup>n</sup>での分解能
resolution_msn_low#low | 低
resolution_msn_low#unit | ユニット
resolution_msn_low#high | 高
resolution_mz_msn | m/z 200での分解能（MS<sup>n</sup>） | m/z 200 におけるFWHM分解能を指定してください。
mass_accuracy_ppm_msn | 質量精度 (ppm)（MS<sup>n</sup>）
rec_mode_msn | 生データの記録モード（MS<sup>n</sup>）
rec_mode_msn#centroid | セントロイドモード
rec_mode_msn#profile | プロファイルモード
add_dimension | 追加の分析次元/技術の使用有無 | （例：IMSなど）追加の分析次元は適用されましたか？
add_dimension#yes | はい
add_dimension#no | いいえ
blanks | ブランク | ブランク試料は分析されましたか？
blanks#yes | はい
blanks#no | いいえ
type_of_blanks | ブランクの種類 | 分析に用いたブランク試料の種類を指定してください。
type_of_blanks#extraction_blank | 抽出ブランク | 水/試料緩衝液の抽出
type_of_blanks#solvent_blank | 溶媒ブランク | 試料の溶解に用いた溶媒を記載してください。
type_of_blanks#istd_blank | 内部標準ブランク | 内部標準のみの抽出
quality_control | 品質管理（QC） | QC試料は分析されましたか？
quality_control#yes | はい
quality_control#no | いいえ
type_of_qc_sample | QC試料の種類 | 分析に用いたQC試料の種類を指定してください。
type_of_qc_sample#commercial_sample | 市販試料
type_of_qc_sample#sample_pool | 試料プール
type_of_qc_sample#reference_material | 認証標準物質
off_sample | バックグラウンド領域 | バックグラウンド領域の質量スペクトルは取得/評価されましたか？
off_sample#yes | はい
off_sample#no | いいえ
recalibrated | 質量スペクトルの再キャリブレーション | （例：RecalOfflineを使用）
recalibrated#yes | はい
recalibrated#no | いいえ
visualization | 可視化/処理ツール | 可視化/処理ツールは使用しましたか？
visualization#no | いいえ
visualization#SCILS | SCILS
visualization#lipostar | Lipostar
visualization#HDI | HDI
visualization#ii | imageInsight
visualization#mastek | Mastek
visualization#other | その他
other_visualization | その他の可視化/処理ツール | その他の可視化/処理ツールを記載してください。
window_unit | ピーク選択ウィンドウの単位
window_unit#ppm | ppm
window_unit#da | Da
selection_window_ppm | ピーク選択ウィンドウ [ppm]
selection_window_da | ピーク選択ウィンドウ [Da]
peak_inclusion | ピーク取り込み条件 | ピーク取り込みにベースピーク比（%）または絶対強度のしきい値を使用しましたか？
peak_inclusion#yes | はい
peak_inclusion#no | いいえ
scale_bar | スケールバーの有無 | スケールバーは含まれていますか？
scale_bar#yes | はい
scale_bar#no | いいえ
intensity_bar | スペクトル強度バーの有無 | 明確な範囲指標を持つスペクトル強度バーは含まれていますか？
intensity_bar#yes | はい
intensity_bar#no | いいえ
method_validation | 手法バリデーション | 手法のバリデーションは実施されましたか？
method_validation#yes | はい
method_validation#no | いいえ
lipid_recovery | 脂質回収率の評価 | 脂質抽出の回収率は評価されましたか？
lipid_recovery#yes | はい
lipid_recovery#no | いいえ
dynamic_quantification_range | 定量ダイナミックレンジ | 手法のダイナミックレンジは評価されましたか？
dynamic_quantification_range#yes | はい
dynamic_quantification_range#no | いいえ
limit_of_quantitation_loq | 定量下限 (LOQ)/検出限界 (LOD) | 手法の検出限界（LOD）/定量下限（LOQ）は評価されましたか？
limit_of_quantitation_loq#yes | はい
limit_of_quantitation_loq#no | いいえ
precison | 精度 | 手法の精度は評価されましたか？
precison#yes | はい
precison#no | いいえ
accuracy | 正確度 | 手法の正確度は評価されましたか？
accuracy#yes | はい
accuracy#no | いいえ
guidelines_followed | 準拠ガイドライン | 手法のバリデーションに関して、何らかのガイドラインに準拠しましたか？
guidelines_followed#fda | FDA
guidelines_followed#ema | EMA
guidelines_followed#none | なし
guidelines_followed#other | その他
other_guidelines_followed | その他の準拠ガイドライン | その他に準拠したガイドラインを記載してください。
microscopy_images | 顕微鏡画像 | MSIと併せて取得した試料の顕微鏡画像はありますか？
microscopy_images#exact | 同一試料
microscopy_images#adjacent | 隣接試料
microscopy_images#no | いいえ
staining_techniques | 染色手法 | 顕微鏡画像のコントラスト向上のための染色は実施しましたか？
staining_techniques#he | H&E
staining_techniques#NISSL | NISSL
staining_techniques#LFB | LFB
staining_techniques#oil | Oil Red
staining_techniques#other | その他
staining_techniques#no | いいえ
other_staining_techniques | その他の染色手法 | コントラスト向上のために使用したその他の染色手法を記載してください。
coregistration | 画像位置合わせの一致性 | MSIと顕微鏡画像の位置合わせは十分に一致していますか？
coregistration#yes | はい
coregistration#no | いいえ
lipid_signals | 脂質シグナル | 試料外と見なされる領域に脂質シグナルは存在しますか？
lipid_signals#FA | FA
lipid_signals#GPL | GPL
lipid_signals#GL | GL
lipid_signals#SP | SP
lipid_signals#ST | ST
lipid_signals#SL | SL
lipid_signals#PK | PK
lipid_signals#PR | PR
reported_raw_data | 報告された生データのリポジトリ登録 | 報告されたデータはリポジトリにアップロード、または補足資料として提供されていますか？
reported_raw_data#yes | はい
reported_raw_data#no | いいえ
reported_raw_data#available_on_request | 要請に応じて提供
repo_link | リポジトリのリンク/エントリID | リポジトリおよびエントリのリンク/DOI/IDを記載してください。
metadata_available | メタデータの提供状況
metadata_available#yes | はい
metadata_available#no | いいえ
metadata_available#available_on_request | 要請に応じて提供
summary_data | サマリーデータ | サマリ（処理済みの最終データ）は利用可能ですか？
summary_data#quantification_data | 定量データ
summary_data#identification_data | 同定データ
summary_data#quant_ident_data | 定量・同定データ
raw_data_upload | 生データの提供状況 | 生データ（ピークm/z、強度/面積、RT（該当する場合）を含む未処理データ）は提供されていますか？
raw_data_upload#yes | はい
raw_data_upload#no | いいえ
raw_data_upload#available_on_request | 要請に応じて提供
additional_comments | 追加コメント | （任意）追加コメントを記載してください。

## label_table
name | label | description | label japanese | description japanese
title_study | Title of the study
principle_investigator | Principal investigator | Please specify the person / laboratory responsible for the data acquisition.
institution | Institution | Please specify the institution where the data was acquired.
corresponding_email | Corresponding Email | To whom correspondence should be addressed?
workflow_targeted | Is the workflow targeted or untargeted? | Targeted workflows are typically based on Single Ion Monitoring (SIM) or Selected Reaction Monitoring (SRM). Workflows based on scans are considered untargeted.
workflow_targeted#targeted | Targeted
workflow_targeted#untargeted | Untargeted
clinical | Clinical | Clinical lipidomics refers to studies on human samples using a quantitative and validated method. It refers not only to studies using a clinical diagnostic method, but also to studies aimed at developing and validating lipids for clinical applications.
clinical#yes | Yes
clinical#no | No
extraction_method | Extraction method | Which type of lipid extraction was applied?
extraction_method#1-phase_system | 1-phase system
extraction_method#2-phase_system | 2-phase system
extraction_method#solid-phase_extraction | Solid-Phase Extraction
extraction_method#other | Other
other_extraction_method | Other extraction method | Which other extraction method was applied? Please provide a PubMed identifier or DOI, if available.
ph_adjustment | pH adjustment | Was the pH adjusted for extraction? If yes, which buffer, acid/base was added?
ph_adjustment#none | None
ph_adjustment#hydrochloric_acid | Hydrochloric acid
ph_adjustment#citric_acid | Citric acid
ph_adjustment#citrate_salt | Citrate salt
ph_adjustment#ammonium_formate | Ammonium formate
ph_adjustment#other | Other
other_ph_adjustment | Other pH adjustment | Which other pH adjustment was applied?
1-phase_system | 1-phase system | Type of 1-phase, i.e. organic solvent used for protein precipitation.
1-phase_system#acetonitrile | Acetonitrile
1-phase_system#isopropanol | Isopropanol
1-phase_system#methanol | Methanol
1-phase_system#ethanol | Ethanol
1-phase_system#butanol | Butanol
1-phase_system#butanol/methanol_1_1 | Butanol/Methanol (1/1)
1-phase_system#butanol/methanol_3_1 | Butanol/Methanol (3/1)
1-phase_system#other | Other
other_1-phase_system | Other 1-phase system | Which other type 1-phase was used for protein precipitation?
2-phase_system | 2-phase system | Type of 2-phase; for other include reference when available.
2-phase_system#folch | Folch
2-phase_system#bligh_dyer | Bligh&Dyer
2-phase_system#mtbe | MTBE
2-phase_system#bume | BUME
2-phase_system#2-step_extraction | 2-step extraction
2-phase_system#other | Other
other_2-phase_system | Other 2-phase system | Which other type 2-phase was used?
solid-phase_extraction | Solid-Phase Extraction | Separation mode applied for SPE.
solid-phase_extraction#reverse-phase | Reverse-Phase
solid-phase_extraction#normal-phase | Normal-Phase
solid-phase_extraction#ion_exchange | Ion Exchange
solid-phase_extraction#mixed_mode | Mixed Mode
solid-phase_extraction#other | Other
other_solid-phase_extraction | Other Solid-Phase Extraction | Which other solid-phase extraction was applied?
special_conditions | Special conditions | Were special sample extraction conditions applied, such as low/high temperature, precautions (e.g., antioxidants), intensive mixing, sonication, or other?
derivatization | Derivatization | Please specify a derivatization, if applicable.
desiccation_time | Desiccation time [min]
tissue_washing | Tissue/sample washing | Was tissue/sample washing employed?
tissue_washing#yes | Yes
tissue_washing#no | No
what_washing | What washing | How was the tissue/sample wasing employed?
additional_chemistry | Additional sample chemistry | Was additional sample chemistry (e.g., enzyme digestion, derivatization) employed?
additional_chemistry#yes | Yes
additional_chemistry#no | No
what_chemistry | What chemistry | What additional sample chemistry (e.g., enzyme digestion, derivatization) was employed?
internal_standards | Were internal standards used? | If so, what and how?
internal_standards#yes | Yes
internal_standards#no | No
deposition_method | Deposition method | What deposition method was used?
int_standards_used | Internal standards used | Which internal standards were used?
approx_number | Approximate number [µmol/mm<sup>2</sup>]
source_type | Source type
source_type#MALDI | MALDI
source_type#LDI | LDI
source_type#LAESI | LAESI
source_type#IRMALDESI | IR-MALDESI
source_type#DESI | DESI
source_type#nanoDESI | nano-DESI
source_type#LESA | LESA
source_type#SIMS | SIMS
source_type#other | other
other_source_type | Other source type | Which other source type was used?
matrix_used | Matrix used
matrix_used#25dha | 2,5-DHA
matrix_used#dhb | DHB
matrix_used#norharmane | Norharmane
matrix_used#da | DA
matrix_used#9aahaba | 9-AA HABA
matrix_used#dan | DAN
matrix_used#chca | CHCA
matrix_used#nedc | NEDC
matrix_used#other | other
matrix_used#no | No
other_matrix_used | Other matrix used | Which other matrix was used?
dopants | Dopants
dopants#fa | Formic acid
dopants#nh4oac | NH<sub>4</sub>OAc
dopants#other | other
dopants#no | No
other_dopants | Other dopants | Which other dopants were used?
deposition | Matrix deposition method and device
deposition#sublimation | Sublimation
deposition#spraying | Spraying
deposition#other | other
other_deposition | Other deposition | What other deposition was used?
wavelength | Laser wavelength [nm]
pulse_energy | Laser pulse energy [µJ]
frequency | Frequency [Hz] | 1 Hz would be continuous laser
laser_shots | Laser shots per pixel
laser_spot_size | Laser spot size [µm]
pixel_size | Pixel size [µm]
spray_solution | Spray solution
flow_rate | Flow rate [mL/min]
pressure | Pressure [psi]
spray_voltage | Spray voltage [V]
ion_type | Primary ion type
ion_type#argon | Argon
ion_type#oxygen | Oxygen
ion_type#sf6 | SF6
ion_type#c60 | C60
ion_type#cesium | Cesium
ion_type#liq_metal | Liquid metal
ion_type#cluster | Water cluster
ion_type#other | other
other_ion_type | Other primary ion type | Which other primary ion type was used?
cluster_size | Average cluster size
beam_type | Beam type
beam_type#pulsed | Pulsed
beam_type#continuous | Continuous
ion_dose | Ion dose [primary ions/cm²]
sputter | Sputter/depth profiling?
sputter#yes | Yes
sputter#no | No
profiling_type | Profiling type | Please specify profiling type
beam_voltage | Beam acceleration voltage [kV]
beam_current | Beam current [pA]
beam_diameter | Beam diameter / spot size [µm]
beam_frequency | Beam frequency [Hz]
acquisition_time | Acquisition time per pixel [s]
post_ionization | Post-ionization employed?
post_ionization#yes | Yes
post_ionization#no | No
post_ionization_type | Post-ionization type
post_ionization_typee#MALDESI | MALDESI
post_ionization_type#MALDI2 | MALDI2
post_ionization_type#Plasma | Plasma
post_ionization_type#other | other
other_post_ionization_type | Other post-ionization type | Which other post-ionization type was applied?
ionization_add | Ionizaton additives | Which ionizaton additives are used?
ionization_add#amma | Ammonium acetate
ionization_add#ammf | Ammonium formate
ionization_add#fa | Formic acid
ionization_add#aa | Acetic acid
ionization_add#m | Methylamine
ionization_add#amm | Ammonia
ionization_add#lh | Lithium hydroxide
ionization_add#other | Other
other_ionization_add | Other ionizaton additives | Which other ionizaton additives are used?
number_of_separation_dimensions | Number of separation dimensions | How many dimensions were applied?
number_of_separation_dimensions#one_dimension | One dimension
number_of_separation_dimensions#two_dimensions | Two dimensions
separation_type_1 | Separation type 1 | Which type of separation was applied?
separation_type_1#gc | GC
separation_type_1#lc | LC
separation_type_1#sfc | SFC
separation_type_1#tlc | TLC
separation_type_1#other | Other
other_sep_type1 | Other separation type 1 | Which other separation type (1) was applied?
other_sep_generic1 | Separation mode 1 (generic) | Which separation mode (1) was applied?
separation_mode_1_liquid | Separation mode 1 (liquid) | Which separation mode was applied?
separation_mode_1_liquid#np | NP
separation_mode_1_liquid#hilic | HILIC
separation_mode_1_liquid#rp | RP
separation_mode_1_liquid#other | Other
other_sep_mode1 | Other separation mode 1 (liquid) | Which other liquid separation mode (1) was applied?
ms_separation_mode_1_gas | Separation mode 1 (GC) | Specify the gas phase separation mode.
separation_window | Separation window for lipid analyte selection (±) in minutes
separation_type_2 | Separation type 2 | Which type of separation was applied?
separation_type_2#lc | LC
separation_type_2#sfc | SFC
separation_type_2#tlc | TLC
separation_type_2#other | Other
other_sep_type2 | Other separation type 2 | Which other separation type (2) was applied?
other_sep_mode2 | Separation mode 2 (generic) | Which separation mode (2) was applied?
separation_type_2_gc | Separation type 2 (GC) | Which type of separation was applied?
separation_type_2_gc#gc | GC
ms_separation_mode_2_gas | Separation mode 2 (GC) | Which separation mode was applied?
detector | Detector
detector#ms | Mass spectrometer
detector#fid | Flame-ionization detector
rt_verification | Retention time verification
rt_verification#yes | Yes
rt_verification#no | No
ms_type | MS type
ms_type#q | Q
ms_type#tof | TOF
ms_type#qqq | QQQ
ms_type#qtrap | QTrap
ms_type#fticr | FTICR
ms_type#orbitrap | Orbitrap
ms_type#qtof | QTOF
ms_type#fticr2 | FTICR
ms_type#icr | ICR
ms_type#other | Other
other_ms_type | Other MS type | Specify another MS type.
ms_vendor | MS vendor | Vendor of mass spectrometer.
ms_vendor#agilent | Agilent
ms_vendor#bruker | Bruker
ms_vendor#sciex | SCIEX
ms_vendor#shimadzu | Shimadzu
ms_vendor#thermo | Thermo
ms_vendor#waters | Waters
ms_vendor#other | Other
other_ms_vendor | Other MS vendor | Specify another MS vendor.
ion_source | Ion source | Which ion source was applied?
ion_source#esi | ESI
ion_source#apci | APCI
ion_source#appi | APPI
ion_source#maldi | MALDI
ion_source#other | Other
other_ion_source | Other ion source | Specify another ion source.
ion_source_gc | Ion source (GC) | Which ion source was applied?
ion_source_gc#ei | EI
ion_source_gc#other | Other
other_ion_source_gc | Other ion source (GC) | Specify another ion source.
separation_window_1 | Ionization energy | Which ionization energy was used [eV]?
direct_type | Direct type | Which inlet was used for direct MS?
direct_type#syringe | Syringe
direct_type#fia | FIA
direct_type#chip | Chip
direct_type#other | Other
other_direct_type | Other direct type | Which other inlet was used for direct MS?
ms_level | MS Level | Which MS level(s) was(were) used for identification?
ms_level#ms1 | MS<sup>1</sup>
ms_level#ms2 | MS<sup>2</sup>
ms_level#msn | MS<sup>n</sup>
mass_resolution_ms1 | Mass resolution for detected ion at MS<sup>1</sup> | Which mass resolution was applied for the detected ion?
mass_resolution_ms1#low_resolution | Low resolution
mass_resolution_ms1#high_resolution | High resolution
resolution_ms1_low | Resolution at MS<sup>1</sup>
resolution_ms1_low#low | Low
resolution_ms1_low#unit | Unit
resolution_ms1_low#high | High
resolution_mz_ms1 | Resolution at m/z 200 at MS<sup>1</sup> | Specify the resolution at m/z 200 FWHM.
mass_accuracy_ppm_ms1 | Mass accuracy in ppm at MS<sup>1</sup>
rec_mode_ms1 | Recording mode of raw data at MS<sup>1</sup>
rec_mode_ms1#centroid | Centroid mode
rec_mode_ms1#profile | Profile mode
mass_window_precursor_ion_isolation | Mass window for precursor ion isolation (in Da total isolation window) | For MS2 and higher - which mass window was applied for precursor selection?
mass_resolution_ms2 | Mass resolution for detected ion at MS<sup>2</sup> | Which mass resolution was applied for the detected ion?
mass_resolution_ms2#low_resolution | Low resolution
mass_resolution_ms2#high_resolution | High resolution
resolution_ms2_low | Resolution at MS<sup>2</sup>
resolution_ms2_low#low | Low
resolution_ms2_low#unit | Unit
resolution_ms2_low#high | High
resolution_mz_ms2 | Resolution at m/z 200 at MS<sup>2</sup> | Specify the resolution at m/z 200 FWHM.
mass_accuracy_ppm_ms2 | Mass accuracy in ppm at MS<sup>2</sup>
rec_mode_ms2 | Recording mode of raw data at MS<sup>2</sup>
rec_mode_ms2#centroid | Centroid mode
rec_mode_ms2#profile | Profile mode
mass_resolution_msn | Mass resolution for detected ion at MS<sup>n</sup> | Which mass resolution was applied for the detected ion?
mass_resolution_msn#low_resolution | Low resolution
mass_resolution_msn#high_resolution | High resolution
resolution_msn_low | Resolution at MS<sup>n</sup>
resolution_msn_low#low | Low
resolution_msn_low#unit | Unit
resolution_msn_low#high | High
resolution_mz_msn | Resolution at m/z 200 at MS<sup>n</sup> | Specify the resolution at m/z 200 FWHM.
mass_accuracy_ppm_msn | Mass accuracy in ppm at MS<sup>n</sup>
rec_mode_msn | Recording mode of raw data at MS<sup>n</sup>
rec_mode_msn#centroid | Centroid mode
rec_mode_msn#profile | Profile mode
add_dimension | Was/Were additional dimension/techniques used | Were additional analytical dimensions (e.g., IMS) applied?
add_dimension#yes | Yes
add_dimension#no | No
blanks | Blanks | Where blank samples analyzed?
blanks#yes | Yes
blanks#no | No
type_of_blanks | Type of Blanks | Which types of blank samples were analyzed?
type_of_blanks#extraction_blank | Extraction blank | Extraction of water/sample buffer
type_of_blanks#solvent_blank | Solvent blank | Solvent used to dissolve the sample
type_of_blanks#istd_blank | Internal standard blank | Extraction of internal standards
quality_control | Quality control | Were QC samples analyzed?
quality_control#yes | Yes
quality_control#no | No
type_of_qc_sample | Type of QC sample | Which types of QC samples were analyzed?
type_of_qc_sample#commercial_sample | Commercial sample
type_of_qc_sample#sample_pool | Sample pool
type_of_qc_sample#reference_material | Reference material
off_sample | Off-sample | Were mass spectra from an area 'off-sample' (background) obtained/investigated?
off_sample#yes | Yes
off_sample#no | No
recalibrated | Mass spectra recalibrated | E.g., through RecalOffline?
recalibrated#yes | Yes
recalibrated#no | No
visualization | Visualization | Was a visualisation/processing tool used?
visualization#no | No
visualization#SCILS | SCILS
visualization#lipostar | Lipostar
visualization#HDI | HDI
visualization#ii | imageInsight
visualization#mastek | Mastek
visualization#other | other
other_visualization | Other visualisation | Which other visualisation/processing tool was used?
window_unit | Peak selection window unit
window_unit#ppm | ppm
window_unit#da | Da
selection_window_ppm | Peak selection window [ppm]
selection_window_da | Peak selection window [Da]
peak_inclusion | Peak inclusion | Were % base peak or absolute intensity thresholds used for peak inclusion?
peak_inclusion#yes | Yes
peak_inclusion#no | No
scale_bar | Scale bar included | Was a scale bar included?
scale_bar#yes | Yes
scale_bar#no | No
intensity_bar | Spectral intensity bar included | Was a spectral intensity bar (with clearly defined range metric) included?
intensity_bar#yes | Yes
intensity_bar#no | No
method_validation | Method validation | Was any method validation performed?
method_validation#yes | Yes
method_validation#no | No
lipid_recovery | Lipid recovery | Was the recovery of lipid extraction evaluated?
lipid_recovery#yes | Yes
lipid_recovery#no | No
dynamic_quantification_range | Dynamic quantification range | Was the dynamic range of the method evaluated?
dynamic_quantification_range#yes | Yes
dynamic_quantification_range#no | No
limit_of_quantitation_loq | Limit of quantitation (LOQ)/Limit of detection (LOD) | Was LOD/LOQ of the method evaluated?
limit_of_quantitation_loq#yes | Yes
limit_of_quantitation_loq#no | No
precison | Precision | Was precision of the method evaluated?
precison#yes | Yes
precison#no | No
accuracy | Accuracy | Was accuracy of the method evaluated?
accuracy#yes | Yes
accuracy#no | No
guidelines_followed | Guidelines followed | Was a guideline followed for method validation?
guidelines_followed#fda | FDA
guidelines_followed#ema | EMA
guidelines_followed#none | None
guidelines_followed#other | Other
other_guidelines_followed | Other guidelines followed | Which other guidelines were followed?
microscopy_images | Microscopy images | Are there microscopy images of the sample obtained in conjunction with the MSI?
microscopy_images#exact | Exact sample
microscopy_images#adjacent | Adjacent sample
microscopy_images#no | No
staining_techniques | Staining techniques | Were staining techniques used to enhance micrograph contrast?
staining_techniques#he | H&E
staining_techniques#NISSL | NISSL
staining_techniques#LFB | LFB
staining_techniques#oil | Oil red
staining_techniques#other | other
staining_techniques#no | No
other_staining_techniques | Other staining techniques | Which other staining techniques used to enhance micrograph contrast?
coregistration | Agreeance in co-registration | Do MSI and microscopy images display close agreeance in co-registration?
coregistration#yes | Yes
coregistration#no | No
lipid_signals | Lipid signals | In an area perceived to be off-sample, are there lipid signals present?
lipid_signals#FA | FA
lipid_signals#GPL | GPL
lipid_signals#GL | GL
lipid_signals#SP | SP
lipid_signals#ST | ST
lipid_signals#SL | SL
lipid_signals#PK | PK
lipid_signals#PR | PR
reported_raw_data | Are reported raw data uploaded into repository? | Were reported data uploaded into repository or included as supplementary data?
reported_raw_data#yes | Yes
reported_raw_data#no | No
reported_raw_data#available_on_request | Available on request
repo_link | Link to repository / ID to entry | Please provide a link / DOI / ID the repository and its entries.
metadata_available | Are metadata available?
metadata_available#yes | Yes
metadata_available#no | No
metadata_available#available_on_request | Available on request
summary_data | Summary data | Are summary, i.e. processed final data available?
summary_data#quantification_data | Quantification data
summary_data#identification_data | Identification data
summary_data#quant_ident_data | Quantification and identification data
raw_data_upload | Raw data upload | Are raw data, i.e. unprocessed data including peak m/z, intensities/areas, RT (when applicable) available?
raw_data_upload#yes | Yes
raw_data_upload#no | No
raw_data_upload#available_on_request | Available on request
additional_comments | Additional comments | Please write any additional comment (if present)