## japanese
name | label | description
lipid_class | 脂質クラス
lipid_class#car | CAR | アシルカルニチン
lipid_class#coa | CoA | アシルCoA
lipid_class#fa | FA | 脂肪酸
lipid_class#fahfa | FAHFA | 脂肪酸エストリド
lipid_class#fal | FAL | 脂肪アルデヒド
lipid_class#foh | FOH | 脂肪アルコール
lipid_class#na |  | N-アシルアミン
lipid_class#nae | NAE | N-アシルエタノールアミン
lipid_class#nat | NAT | N-アシルタウリン
lipid_class#wd | WD | ワックスジエステル
lipid_class#we | WE | ワックスエステル
lipid_class#dg | DG | ジアシル/アルキルグリセリド
lipid_class#dgdg | DGDG | ジガラクトシルジアシルグリセロール
lipid_class#dgmg | DGMG | ジガラクトシルモノアシルグリセロール
lipid_class#mg | MG | モノアシル/アルキルグリセリド
lipid_class#mgdg | MGDG | モノガラクトシルジアシルグリセロール
lipid_class#mgmg | MGMG | モノガラクトシルモノアシルグリセロール
lipid_class#sqdg | SQDG | スルホキノボシルジアシルグリセロール
lipid_class#sqmg | SQMG | スルホキノボシルモノアシルグリセロール
lipid_class#tg | TG | トリアシル/アルキルグリセリド（トリグリセリド）
lipid_class#tgest | TG-EST | エストリド
lipid_class#bmp | BMP | ビス[モノアシルグリセロ]リン酸
lipid_class#cdpdag | CDPDAG | CDP-ジアシルグリセロール
lipid_class#cl | CL | カルジオリピン
lipid_class#dmpe | DMPE | ジメチルホスファチジルエタノールアミン
lipid_class#lpa | LPA | リゾホスファチジン酸
lipid_class#lpc | LPC | リゾホスファチジルコリン
lipid_class#lpc_o-a | LPC O | アルキルリゾホスファチジルコリン
lipid_class#lpc_o-p | LPC P | アルケニルリゾホスファチジルコリン
lipid_class#lpe | LPE | リゾホスファチジルエタノールアミン
lipid_class#lpe_o-a | LPE O | アルキルリゾホスファチジルエタノールアミン
lipid_class#lpe_o-p | LPE P | アルケニルリゾホスファチジルエタノールアミン
lipid_class#lpg | LPG | リゾホスファチジルグリセロール
lipid_class#lpi | LPI | リゾホスファチジルイノシトール
lipid_class#lps | LPS | リゾホスファチジルセリン
lipid_class#lcl | LCL | リゾカルジオリピン
lipid_class#mmpe | MMPE | モノメチルホスファチジルエタノールアミン
lipid_class#pa | PA | ホスファチジン酸
lipid_class#pc | PC | ホスファチジルコリン
lipid_class#pc_o-a | PC O | アルキルホスファチジルコリン
lipid_class#pc_o-p | PC P | アルケニルホスファチジルコリン
lipid_class#pe | PE | ホスファチジルエタノールアミン
lipid_class#pe_o-a | PE O | アルキルホスファチジルエタノールアミン
lipid_class#pe_o-p | PE P | アルケニルホスファチジルエタノールアミン
lipid_class#pet | PEt | ホスファチジルエタノール
lipid_class#pg | PG | ホスファチジルグリセロール
lipid_class#pgp | PGP | ホスファチジルグリセロールリン酸
lipid_class#pi | PI | ホスファチジルイノシトール
lipid_class#pim | PIM | ホスファチジルイノシトール-マンノシド
lipid_class#pip | PIP | ホスファチジルイノシトール一リン酸
lipid_class#pip2 | PIP2 | ホスファチジルイノシトール二リン酸
lipid_class#pip3 | PIP3 | ホスファチジルイノシトール三リン酸
lipid_class#ps | PS | ホスファチジルセリン
lipid_class#acer | ACer | アシルセラミド
lipid_class#cer | Cer | セラミド
lipid_class#cerp | CerP | セラミドリン酸
lipid_class#epc | EPC | エタノールアミンホスホリルセラミド
lipid_class#galcer | GalCer | ガラクトシルセラミド
lipid_class#ga1 | GA1 | グリコスフィンゴ脂質
lipid_class#ga2 | GA2 | グリコスフィンゴ脂質
lipid_class#gb4 | GB4 | グリコスフィンゴ脂質
lipid_class#gd0a | GD0a | グリコスフィンゴ脂質
lipid_class#gd1 | GD1 | グリコスフィンゴ脂質
lipid_class#gd1a | GD1a | グリコスフィンゴ脂質
lipid_class#gd1a_ac | GD1a-AC | グリコスフィンゴ脂質
lipid_class#gd1b | GD1b | グリコスフィンゴ脂質
lipid_class#gd2 | GD2 | グリコスフィンゴ脂質
lipid_class#gd3 | GD3 | グリコスフィンゴ脂質
lipid_class#gipc | GIPC | グリコシルイノシトールホスホリルセラミド
lipid_class#glccer | GlcCer | グルコシルセラミド
lipid_class#gm1 | GM1 | グリコスフィンゴ脂質
lipid_class#gm2 | GM2 | グリコスフィンゴ脂質
lipid_class#gm3 | GM3 | グリコスフィンゴ脂質
lipid_class#gm4 | GM4 | グリコスフィンゴ脂質
lipid_class#gp1 | GP1 | グリコスフィンゴ脂質
lipid_class#gq1 | GQ1 | グリコスフィンゴ脂質
lipid_class#gq1a | GQ1a | グリコスフィンゴ脂質
lipid_class#gq1a_ac | GQ1a-AC | グリコスフィンゴ脂質
lipid_class#gq1b | GQ1b | グリコスフィンゴ脂質
lipid_class#gt1 | GT1 | グリコスフィンゴ脂質
lipid_class#gt1a | GT1a | グリコスフィンゴ脂質
lipid_class#gt1b | GT1b | グリコスフィンゴ脂質
lipid_class#gt2 | GT2 | グリコスフィンゴ脂質
lipid_class#gt3 | GT3 | グリコスフィンゴ脂質
lipid_class#gt3_ac | GT3-AC | グリコスフィンゴ脂質
lipid_class#hex2cer | Hex2Cer | ジヘキソシルセラミド
lipid_class#hex3cer | Hex3Cer | トリヘキソシルセラミド
lipid_class#hexcer | HexCer | ヘキソシルセラミド
lipid_class#ipc | IPC | イノシトールホスホリルセラミド
lipid_class#laccer | LacCer | ラクトシルセラミド
lipid_class#lhexcer | LHexCer | リゾヘキソシルセラミド
lipid_class#lsm | LSM | リゾスフィンゴミエリン
lipid_class#m(ip)2c | M(IP)2C | マンノシル-ジイノシトールホスホセラミド
lipid_class#mipc | MIPC | マンノシル-イノシトールホスホリルセラミド
lipid_class#shexcer | SHexCer | スルファチド
lipid_class#spb | SPB | スフィンゴイド塩基
lipid_class#spbp | SPBP | スフィンゴイド塩基リン酸
lipid_class#sm | SM | スフィンゴミエリン
lipid_class#asg | ASG | アシルステリルグリコシド
lipid_class#ba | BA | 胆汁酸
lipid_class#ce | CE | コレステリルエステル
lipid_class#fc | FC | （遊離）コレステロール
lipid_class#se_27_1 | SE | ステロールエステル
lipid_class#st_27_1_1 | ST | ステロール
lipid_class#sg | SG | ステリルグリコシド
lipid_class#other | Other
other_lipid_class | その他の脂質クラス | その他の脂質クラスを記載してください。
ms_level_ident | 同定に用いたMSレベル | 同定に用いたMSレベルを指定してください。
ms_level#ms1 | MS<sup>1</sup>
ms_level#ms2 | MS<sup>2</sup>
ms_level#msn | MS<sup>n</sup>
ident_level | 同定レベル | 詳細については <a href='https://doi.org/10.1194/jlr.S120001025' target='_blank'>こちら</a> を参照してください。
ident_level#species_level | 種レベル | 例：PC 34:1
ident_level#molecular_species_level | 分子種レベル | 例：PC 16:0_18:1
ident_level#double_bond_position | 二重結合位置 | 例：PC 16:0_18:1(9)
ident_level#sn_position | sn位置 | 例：PC 18:1/16:0
ident_level#structure_defined | 構造定義済み | 例：FA 18:2(9,11);OH
ident_level#full_structure | 完全構造 | 例：FA 18:2(9Z,11E);13OH
ident_level#complete_structure | 全構造 | 13R-HODE
ident_level#undefined | 未定義
adduct_ms1 | MS<sup>1</sup>付加体 | MS1レベルで同定に使用した付加体を指定してください。
adduct_ms1#[m+h]+ | [M+H]+
adduct_ms1#[m+2h]2+ | [M+2H]2+
adduct_ms1#[m+3h]3+ | [M+3H]3+
adduct_ms1#[m+4h]4+ | [M+4H]4+
adduct_ms1#[m+nh4]+ | [M+NH4]+
adduct_ms1#[m+na]+ | [M+Na]+
adduct_ms1#[m+39k]+ | [M+[39]K]+
adduct_ms1#[m+6li]+ | [M+[6]Li]+
adduct_ms1#[m+7li]+ | [M+[7]Li]+
adduct_ms1#[m-h]- | [M-H]-
adduct_ms1#[m-2h]2- | [M-2H]2-
adduct_ms1#[m+hcoo]- | [M+HCOO]-
adduct_ms1#[m+ch3coo]- | [M+CH3COO]-
adduct_ms1#[m+35cl]- | [M+[35]Cl]-
adduct_ms1#[m+37cl]- | [M+[37]Cl]-
adduct_ms1#[m+f]- | [M+F]-
adduct_ms1#other | Other
other_adduct_ms1 | その他のMS<sup>1</sup>付加体 | MS<sup>1</sup>レベルで同定に使用したその他の付加体を記載してください。
isotope_corr_ms1 | MS<sup>1</sup>での同位体補正 | タイプIIの同位体重なりは二重結合系列で発生します。すなわち、不飽和種のM+2同位体が、二重結合が1つ少ない種のM+0と重なります。<a href="https://doi.org/10.1016/j.jlr.2021.100138" target="_blank">こちら</a>を参照してください。
isotope_corr_ms1#type_2 | Type 2
isotope_corr_ms1#no | No
adduct_ms2 | MS<sup>2</sup>付加体 | MS<sup>2</sup>レベルで同定に使用した付加体を指定してください。
adduct_ms2#[m+h]+ | [M+H]+
adduct_ms2#[m+2h]2+ | [M+2H]2+
adduct_ms2#[m+3h]3+ | [M+3H]3+
adduct_ms2#[m+4h]4+ | [M+4H]4+
adduct_ms2#[m+nh4]+ | [M+NH4]+
adduct_ms2#[m+na]+ | [M+Na]+
adduct_ms2#[m+39k]+ | [M+[39]K]+
adduct_ms2#[m+6li]+ | [M+[6]Li]+
adduct_ms2#[m+7li]+ | [M+[7]Li]+
adduct_ms2#[m-h]- | [M-H]-
adduct_ms2#[m-2h]2- | [M-2H]2-
adduct_ms2#[m+hcoo]- | [M+HCOO]-
adduct_ms2#[m+ch3coo]- | [M+CH3COO]-
adduct_ms2#[m+35cl]- | [M+[35]Cl]-
adduct_ms2#[m+37cl]- | [M+[37]Cl]-
adduct_ms2#[m+f]- | [M+F]-
adduct_ms2#other | Other
other_adduct_ms2 | その他のMS<sup>2</sup>付加体 | MS<sup>2</sup>レベルで同定に使用したその他の付加体を記載してください。
frag_used | 同定に用いたフラグメント | 同定に使用したフラグメントを記載してください。推奨されるフラグメントイオンは以下の標準命名法に従います。
isotope_corr_ms2 | MS<sup>2</sup>での同位体補正 | タイプIIのオーバーラップを補正しましたか？
isotope_corr_ms2#type_2 | Type 2
isotope_corr_ms2#no | No
isotope_corr_msn | MS<sup>n</sup>での同位体補正 | タイプIIのオーバーラップを補正しましたか？
isotope_corr_msn#type_2 | Type 2
isotope_corr_msn#no | No
ms1_verified | MS¹ 標準物質による検証 | 脂質クラスで生成されるイオンを確認するために標準物質を使用しましたか？
ms1_verified#yes | Yes
ms1_verified#no | No
ms2_verified | MS² 標準物質による検証 | 脂質クラスで生成される生成イオンを確認するために標準物質を使用しましたか？
ms2_verified#yes | Yes
ms2_verified#no | No
msn_verified | MSⁿ 標準物質による検証 | 脂質クラスで生成される生成イオンを確認するために標準物質を使用しましたか？
msn_verified#yes | Yes
msn_verified#no | No
bgcheck_ms1 | MS¹ におけるバックグラウンドチェック | バックグラウンドイオンの干渉があるか確認しましたか？
bgcheck_ms1#yes | Yes
bgcheck_ms1#no | No
bgcheck_ms2 | MS² におけるバックグラウンドチェック | バックグラウンドイオンの干渉があるか確認しましたか？
bgcheck_ms2#yes | Yes
bgcheck_ms2#no | No
bgcheck_msn | MSⁿ におけるバックグラウンドチェック | バックグラウンドイオンの干渉があるか確認しましたか？
bgcheck_msn#yes | Yes
bgcheck_msn#no | No
assumptions | 同定に関して前提条件を設けましたか？ | 前提条件の例：偶数鎖脂肪アシル鎖のみとする。
assumptions#yes | Yes
assumptions#no | No
assumptions_presumed | 前提条件の内容を記載してください。
general_checks | 確認項目：
general_checks#isomer_overlap | 異性体オーバーラップ | 異性体脂質クラスによる干渉を除外しましたか？ 詳細は <a href='https://lipidomicstandards.org/isomeric-overlap/' target='_blank'>LSI table</a> を参照してください。
general_checks#isobar_overlap | 同重体オーバーラップ | see <a href='https://lipidomicstandards.org/isobaric-overlap/' target='_blank'>LSI table</a>
general_checks#insource | インソースフラグメンテーション | see <a href='https://lipidomicstandards.org/in-source-fragmentation/' target='_blank'>LSI table</a>
lod | 検出限界 | 検出限界を適用しましたか？
lod#no | No
lod#s/n_ratio | S/N比 > 3
lod#lowest_over_3 | 最小信号の3倍以上の閾値
lod#signal_theshold | 信号しきい値
lod#other | Other
other_lod | その他の検出限界 | その他の検出限界を記載してください。
rt_verified_by_standard | 保持時間の標準物質による検証 | 脂質クラス（種）の保持時間を確認するために標準物質を使用しましたか？
rt_verified_by_standard#yes | Yes
rt_verified_by_standard#no | No
separation_of_isobaric | 同重体/異性体干渉の分離確認 | 同重体/異性体干渉の分離が一次標準物質で確認されましたか？
separation_of_isobaric#yes | Yes
separation_of_isobaric#no | No
model_for_separation_prediction | 分離予測モデル | 脂質分子の分離予測にモデルを使用しましたか？
model_for_separation_prediction#yes | Yes
model_for_separation_prediction#no | No
additional_dimension | 追加の分析次元/技術 | 追加の分析次元が適用されましたか？
additional_dimension#ims | IMS | イオンモビリティ質量分析
additional_dimension#ozid | OzID
additional_dimension#uvpd | UVPD
additional_dimension#paterno-buechi | Paterno-Büchi
additional_dimension#other | Other
ccs_verified_by_standard | CCS（衝突断面積）の標準物質による検証 | CCS（衝突断面積）値の確認に標準物質を使用しましたか？
ccs_verified_by_standard#yes | Yes
ccs_verified_by_standard#no | No
other_additional_dimension | その他の追加分析次元/技術 | 使用したその他の追加次元/技術を記載してください。
add_dim_used | 追加の分析次元はどのように使用されましたか？ | 例：同重体/異性体干渉の分離に使用
model_predicted | 脂質分子の分離予測にモデルを使用しましたか？ | モデルの例：衝突断面積（CCS）モデル
model_predicted#yes | Yes
model_predicted#no | No
ident_soft | Lipid Identification Software | 脂質同定に使用したソフトウェアを記載してください。
ident_soft#lipidxplorer | LipidXplorer
ident_soft#alex | ALEX123
ident_soft#lipidsearch | LipidSearch
ident_soft#lipidblast | LipidBlast
ident_soft#greazy | Greazy
ident_soft#lipidex | LipiDex
ident_soft#lipid_data_analyzer_(lda) | Lipid Data Analyzer (LDA)
ident_soft#lipidhunter | LipidHunter
ident_soft#lpptiger | LPPtiger
ident_soft#liquid | LIQUID
ident_soft#ms-dial | MS-DIAL
ident_soft#lipidms | LipidMS
ident_soft#lipidimms_analyzer | LipidIMMS Analyzer
ident_soft#ms-lamp | MS-LAMP
ident_soft#homemade | Homemade
ident_soft#other | Other
other_ident_soft | Other Lipid Identification Software | 使用したその他の脂質同定ソフトウェアを記載してください。
data_manipul | Data manipulation | 適用したデータ処理の種類を記載してください。
data_manipul#smoothing | Smoothing
data_manipul#centroiding | Centroiding
data_manipul#lock_mass_correction | Lock mass correction
data_manipul#bg_sub | Background subtraction
data_manipul#other | Other
other_data_manipul | Other data manipulation | 使用したその他のデータ処理を記載してください。
nomenclature_molecule | Nomenclature for intact lipid molecule | 最新の短縮表記（doi: <a href="https://doi.org/10.1194/jlr.S120001025" target="_blank">10.1194/jlr.S120001025</a>）が注釈に使用されましたか？
nomenclature_molecule#yes | Yes
nomenclature_molecule#no | No
nomenclature_frag | Nomenclature for fragment ions | 推奨されるフラグメントイオンの注釈（doi: <a href="https://doi.org/10.1371/journal.pone.0188394" target="_blank">10.1371/journal.pone.0188394</a>）が適用されましたか？
nomenclature_frag#yes | Yes
nomenclature_frag#no | No
nomenclature_frag#n/a
ident_remarks | 同定に関する追加コメント | 同定に関して追加のコメントはありますか？
quantitative | 定量情報 | 脂質は定量的に同定されていますか（濃度が報告されていますか）？
quantitative#yes | Yes
quantitative#no | No
ms_level_quant | 定量に用いたMSレベル | 定量に使用したMSレベルを指定してください。
ms_level_quant#ms1 | MS<sup>1</sup>
ms_level_quant#ms2 | MS<sup>2</sup>
ms_level_quant#msn | MS<sup>n</sup>
internal_standard_ms1 | 内部標準（MS<sup>1</sup>） | どの内因性脂質/脂質サブクラスを定量するためにどの内部標準を使用しましたか？ 例：全ての <i>Cer 18:1;O2/XX:X</i> に対して <i>Cer 18:1;O2/12:0</i>
internal_standard_ms2 | 内部標準（MS<sup>2</sup>） | どの内因性脂質/脂質サブクラスを定量するためにどのフラグメントと組み合わせてどの内部標準を使用しましたか？ 例：全ての <i>Cer 18:1;O2/XX:X</i> に対してフラグメント <i>LCB-H2O3</i> と組み合わせた <i>Cer 18:1;O2/12:0</i>
type_of_quant | 定量の種類 | サンプルはどのように定量されましたか？
type_of_quant#is_amount | Internal standard amount
type_of_quant#calib | Calibration line
type_of_quant#other | Other
other_type_of_quant | Other type of quantification | Which other type of quantification was used?
type_calib | キャリブレーション線の種類 | 使用したキャリブレーションの種類を記載してください。
type_calib#matrix_based | Matrix based
type_calib#solvent_based | Solvent based
species_calibration_line | キャリブレーションに用いた脂質種 | キャリブレーションに使用した脂質種を記載してください。
response_corr | 応答補正 | 各脂質種の分析応答は補正されましたか？
response_corr#no | No
response_corr#response_model | Response model
response_corr#one_factor | One factor for all species
type_i_corr | タイプI同位体補正 | <a href="https://doi.org/10.1016/j.jlr.2021.100138" target="blank">Type I</a> isotopic effect refers to the fact that the abundance (normalized to the sum of all isotopologues) of M+0 decreases and higher isotopologues increase with the number of carbon atoms.Was isotopic abundance of individual species corrected (Type I)?
type_i_corr#yes | Yes
type_i_corr#no | No
loq | 定量下限 (LOQ) | 定量下限を適用しましたか？
loq#no | No
loq#s/n_ratio | S/N ratio > 10
loq#lowest_over_10 | Threshold 10x above lowest signal
loq#signal_theshold | 信号しきい値
loq#other | Other
other_loq | Other limit of quantification | その他の定量下限を記載してください。
norm_ref | 基準への正規化 | 基準への正規化は適用されましたか？
norm_ref#yes | Yes
norm_ref#no | No
quant_soft | 脂質定量ソフトウェア | 定量に使用したソフトウェアを記載してください。
quant_soft#lipidxplorer | LipidXplorer
quant_soft#alex | ALEX
quant_soft#lipidsearch | LipidSearch
quant_soft#lipid_data_analyzer_(lda) | Lipid Data Analyzer (LDA)
quant_soft#ms-dial | MS-DIAL
quant_soft#skyline | Skyline
quant_soft#homemade | Homemade
quant_soft#other | Other
other_quant_soft | Other Lipid Quantification Software | その他の定量ソフトウェアを記載してください。
batch_corr | バッチ補正 | バッチ補正は適用されましたか？
batch_corr#no | No
batch_corr#normalization | Normalization by reference material/QC
batch_corr#other | Other
other_batch_corr | Other Batch correction | その他のバッチ補正を記載してください。
quant_remarks | 定量に関する追加コメント | 定量に関して追加のコメントはありますか？

## label_table_lipid-class
name | label | description | label japanese | description japanese
lipid_class | Lipid class
lipid_class#car | CAR | Acyl carnitines
lipid_class#coa | CoA | Acyl CoAs
lipid_class#fa | FA | Fatty acids
lipid_class#fahfa | FAHFA | Fatty acid estolides
lipid_class#fal | FAL | Fatty aldehydes
lipid_class#foh | FOH | Fatty alcohols
lipid_class#na | NA | N-acyl amines
lipid_class#nae | NAE | N-acyl ethanolamines
lipid_class#nat | NAT | N-acyl taurines
lipid_class#wd | WD | Wax diesters
lipid_class#we | WE | Wax esters
lipid_class#dg | DG | Diacyl/alkylglycerides
lipid_class#dgdg | DGDG | Digalactosyldiacylglycerol
lipid_class#dgmg | DGMG | Digalactosylmonoacylglycerol
lipid_class#mg | MG | Monoacyl/alkylglycerides
lipid_class#mgdg | MGDG | Monogalactosyldiacylglycerol
lipid_class#mgmg | MGMG | Monogalactosylmonoacylglycerol
lipid_class#sqdg | SQDG | Sulfoquinovosyldiacylglycerols
lipid_class#sqmg | SQMG | Sulfoquinovosylmonoacylglycerols
lipid_class#tg | TG | Triacyl/alkylglycerides (triglycerides)
lipid_class#tgest | TG-EST | Estolides
lipid_class#bmp | BMP | Bis[monoacylglycero]phosphates
lipid_class#cdpdag | CDPDAG | CDP-diacylglycerols
lipid_class#cl | CL | Cardiolipins
lipid_class#dmpe | DMPE | Dimethyl Phosphatidylethanolamine
lipid_class#lpa | LPA | Lysophosphatidic acids
lipid_class#lpc | LPC | Lysophosphatidylcholines
lipid_class#lpc_o-a | LPC O | Alkyl Lysophosphatidylcholines
lipid_class#lpc_o-p | LPC P | Alkenyl Lysophosphatidylcholines
lipid_class#lpe | LPE | Lysophosphatidylethanolamines
lipid_class#lpe_o-a | LPE O | Alkyl Lysophosphatidylethanolamines
lipid_class#lpe_o-p | LPE P | Alkenyl Lysophosphatidylethanolamines
lipid_class#lpg | LPG | Lysophosphatidylgylcerols
lipid_class#lpi | LPI | Lysophosphatidylinositols
lipid_class#lps | LPS | Lysophosphatidylserines
lipid_class#lcl | LCL | Lysocardiolipins
lipid_class#mmpe | MMPE | Monomethyl Phosphatidylethanolamine
lipid_class#pa | PA | Phosphatidic acids
lipid_class#pc | PC | Phosphatidylcholines
lipid_class#pc_o-a | PC O | Alkyl Phosphatidylcholines
lipid_class#pc_o-p | PC P | Alkenyl Phosphatidylcholines
lipid_class#pe | PE | Phosphatidylethanolamines
lipid_class#pe_o-a | PE O | Alkyl Phosphatidylethanolamines
lipid_class#pe_o-p | PE P | Alkenyl Phosphatidylethanolamines
lipid_class#pet | PEt | Phosphatidylethanol
lipid_class#pg | PG | Phosphatidylgylcerols
lipid_class#pgp | PGP | Phosphatidylgylcerolphosphates
lipid_class#pi | PI | Phosphatidylinositols
lipid_class#pim | PIM | Phosphatidylinositol-mannoside
lipid_class#pip | PIP | Phosphatidylinositol-monophosphates
lipid_class#pip2 | PIP2 | Phosphatidylinositol-bisphosphates
lipid_class#pip3 | PIP3 | Phosphatidylinositol-trisphosphates
lipid_class#ps | PS | Phosphatidylserines
lipid_class#acer | ACer | Acyl Ceramides
lipid_class#cer | Cer | Ceramides
lipid_class#cerp | CerP | Ceramide-phosphates
lipid_class#epc | EPC | Ethanolaminephosphorylceramides
lipid_class#galcer | GalCer | Galactosylceramide
lipid_class#ga1 | GA1 | Glycosphingolipids
lipid_class#ga2 | GA2 | Glycosphingolipids
lipid_class#gb4 | GB4 | Glycosphingolipids
lipid_class#gd0a | GD0a | Glycosphingolipids
lipid_class#gd1 | GD1 | Glycosphingolipids
lipid_class#gd1a | GD1a | Glycosphingolipids
lipid_class#gd1a_ac | GD1a-AC | Glycosphingolipids
lipid_class#gd1b | GD1b | Glycosphingolipids
lipid_class#gd2 | GD2 | Glycosphingolipids
lipid_class#gd3 | GD3 | Glycosphingolipids
lipid_class#gipc | GIPC | Glycosylinositolphosphorylceramides
lipid_class#glccer | GlcCer | Glucosylceramide
lipid_class#gm1 | GM1 | Glycosphingolipids
lipid_class#gm2 | GM2 | Glycosphingolipids
lipid_class#gm3 | GM3 | Glycosphingolipids
lipid_class#gm4 | GM4 | Glycosphingolipids
lipid_class#gp1 | GP1 | Glycosphingolipids
lipid_class#gq1 | GQ1 | Glycosphingolipids
lipid_class#gq1a | GQ1a | Glycosphingolipids
lipid_class#gq1a_ac | GQ1a-AC | Glycosphingolipids
lipid_class#gq1b | GQ1b | Glycosphingolipids
lipid_class#gt1 | GT1 | Glycosphingolipids
lipid_class#gt1a | GT1a | Glycosphingolipids
lipid_class#gt1b | GT1b | Glycosphingolipids
lipid_class#gt2 | GT2 | Glycosphingolipids
lipid_class#gt3 | GT3 | Glycosphingolipids
lipid_class#gt3_ac | GT3-AC | Glycosphingolipids
lipid_class#hex2cer | Hex2Cer | Dihexosylceramides
lipid_class#hex3cer | Hex3Cer | Trihexosylceramides
lipid_class#hexcer | HexCer | Hexosylceramides
lipid_class#ipc | IPC | Inositolphosphorylceramides
lipid_class#laccer | LacCer | Lactosylceramide
lipid_class#lhexcer | LHexCer | Lysohexosylceramides
lipid_class#lsm | LSM | Lysosphingomyelins
lipid_class#m(ip)2c | M(IP)2C | Mannosyl-diinositolphosphoceramide
lipid_class#mipc | MIPC | Mannosyl-inositolphosphoceramides
lipid_class#shexcer | SHexCer | Sulfatides
lipid_class#spb | SPB | Sphingoid bases
lipid_class#spbp | SPBP | Sphingoid base-phosphates
lipid_class#sm | SM | Sphingomyelins
lipid_class#asg | ASG | Acylsterylglycosides
lipid_class#ba | BA | Bile acids
lipid_class#ce | CE | Cholesteryl ester
lipid_class#fc | FC | (Free) cholesterol
lipid_class#se_27_1 | SE | Sterol esters
lipid_class#st_27_1_1 | ST | Sterols
lipid_class#sg | SG | Sterylglycosides
lipid_class#other | Other
other_lipid_class | Other lipid class | Specify another lipid class
ms_level_ident | MS Level for identification | Which MS level(s) was(were) used for identification?
ms_level#ms1 | MS<sup>1</sup>
ms_level#ms2 | MS<sup>2</sup>
ms_level#msn | MS<sup>n</sup>
ident_level | Identification level | For more details see: <a href='https://doi.org/10.1194/jlr.S120001025' target='_blank'>https://doi.org/10.1194/jlr.S120001025</a>.
ident_level#species_level | Species level | e.g. PC 34:1
ident_level#molecular_species_level | Molecular species level | e.g. PC 16:0_18:1
ident_level#double_bond_position | Double bond position | e.g. PC 16:0_18:1(9)
ident_level#sn_position | sn Position | e.g. PC 18:1/16:0
ident_level#structure_defined | Structure defined | e.g. FA 18:2(9,11);OH
ident_level#full_structure | Full structure | e.g. FA 18:2(9Z,11E);13OH
ident_level#complete_structure | Complete structure | 13R-HODE
ident_level#undefined | Undefined
adduct_ms1 | MS<sup>1</sup> adduct | Which adduct did you use for identification on MS1 level?
adduct_ms1#[m+h]+ | [M+H]+
adduct_ms1#[m+2h]2+ | [M+2H]2+
adduct_ms1#[m+3h]3+ | [M+3H]3+
adduct_ms1#[m+4h]4+ | [M+4H]4+
adduct_ms1#[m+nh4]+ | [M+NH4]+
adduct_ms1#[m+na]+ | [M+Na]+
adduct_ms1#[m+39k]+ | [M+[39]K]+
adduct_ms1#[m+6li]+ | [M+[6]Li]+
adduct_ms1#[m+7li]+ | [M+[7]Li]+
adduct_ms1#[m-h]- | [M-H]-
adduct_ms1#[m-2h]2- | [M-2H]2-
adduct_ms1#[m+hcoo]- | [M+HCOO]-
adduct_ms1#[m+ch3coo]- | [M+CH3COO]-
adduct_ms1#[m+35cl]- | [M+[35]Cl]-
adduct_ms1#[m+37cl]- | [M+[37]Cl]-
adduct_ms1#[m+f]- | [M+F]-
adduct_ms1#other | Other
other_adduct_ms1 | Other MS<sup>1</sup> adduct | Which other adduct did you use for identification on MS<sup>1</sup> level?
isotope_corr_ms1 | Isotope correction at MS<sup>1</sup> | Type II isotopic overlap occurs in DB series, i.e. within a lipid class the M + 2 isotopologue of an unsaturated species overlaps the M + 0 of species with one less double bond. See <a href="https://doi.org/10.1016/j.jlr.2021.100138" target="_blank">https://doi.org/10.1016/j.jlr.2021.100138</a>.
isotope_corr_ms1#type_2 | Type 2
isotope_corr_ms1#no | No
adduct_ms2 | MS<sup>2</sup> adduct | Which adduct did you use for identification on MS<sup>2</sup> level?
adduct_ms2#[m+h]+ | [M+H]+
adduct_ms2#[m+2h]2+ | [M+2H]2+
adduct_ms2#[m+3h]3+ | [M+3H]3+
adduct_ms2#[m+4h]4+ | [M+4H]4+
adduct_ms2#[m+nh4]+ | [M+NH4]+
adduct_ms2#[m+na]+ | [M+Na]+
adduct_ms2#[m+39k]+ | [M+[39]K]+
adduct_ms2#[m+6li]+ | [M+[6]Li]+
adduct_ms2#[m+7li]+ | [M+[7]Li]+
adduct_ms2#[m-h]- | [M-H]-
adduct_ms2#[m-2h]2- | [M-2H]2-
adduct_ms2#[m+hcoo]- | [M+HCOO]-
adduct_ms2#[m+ch3coo]- | [M+CH3COO]-
adduct_ms2#[m+35cl]- | [M+[35]Cl]-
adduct_ms2#[m+37cl]- | [M+[37]Cl]-
adduct_ms2#[m+f]- | [M+F]-
adduct_ms2#other | Other
other_adduct_ms2 | Other MS<sup>2</sup> adduct | Which other adduct did you use for identification on MS<sup>2</sup> level?
frag_used | Fragments for identification | Please specify the fragments used for the identification. The suggested fragment ions are following this standard nomenclature: (doi: <a href="https://journals.plos.org/plosone/article?id=10.1371/journal.pone.0188394" target="_blank">10.1371/journal.pone.0188394</a>)
isotope_corr_ms2 | Isotope correction at MS<sup>2</sup> | Was Type II overlap corrected?
isotope_corr_ms2#type_2 | Type 2
isotope_corr_ms2#no | No
isotope_corr_msn | Isotope correction at MS<sup>n</sup> | Was Type II overlap corrected?
isotope_corr_msn#type_2 | Type 2
isotope_corr_msn#no | No
ms1_verified | MS<sup>1</sup> verified by standard | Were standards used to check which ions are formed for the lipid class?
ms1_verified#yes | Yes
ms1_verified#no | No
ms2_verified | MS<sup>2</sup> verified by standard | Were standards used to check which product ions are formed for the lipid class?
ms2_verified#yes | Yes
ms2_verified#no | No
msn_verified | MS<sup>n</sup> verified by standard | Were standards used to check which product ions are formed for the lipid class?
msn_verified#yes | Yes
msn_verified#no | No
bgcheck_ms1 | Background check at MS<sup>1</sup> | Was checked whether background ions interfere ?
bgcheck_ms1#yes | Yes
bgcheck_ms1#no | No
bgcheck_ms2 | Background check at MS<sup>2</sup> | Was checked whether background ions interfere?
bgcheck_ms2#yes | Yes
bgcheck_ms2#no | No
bgcheck_msn | Background check at MS<sup>n</sup> | Was checked whether background ions interfere?
bgcheck_msn#yes | Yes
bgcheck_msn#no | No
assumptions | Did you presume assumptions for identification? | Assumptions for instance can be: only even chain fatty acyl chains.
assumptions#yes | Yes
assumptions#no | No
assumptions_presumed | Which assumptions were presumed?
general_checks | Check on:
general_checks#isomer_overlap | Isomeric overlap | Was interference by isomeric lipid classes excluded, see <a href='https://lipidomicstandards.org/isomeric-overlap/' target='_blank'>LSI table</a>?
general_checks#isobar_overlap | Isobaric overlap | see <a href='https://lipidomicstandards.org/isobaric-overlap/' target='_blank'>LSI table</a>
general_checks#insource | In-source fragmentation | see <a href='https://lipidomicstandards.org/in-source-fragmentation/' target='_blank'>LSI table</a>
lod | Limit of detection | Was limit of detection applied?
lod#no | No
lod#s/n_ratio | S/N ratio > 3
lod#lowest_over_3 | Threshold 3x above lowest signal
lod#signal_theshold | Signal theshold
lod#other | Other
other_lod | Other limit of detection | Which other limit of detection was applied?
rt_verified_by_standard | RT verified by standard | Were standards used to check retention time of lipid class(species)?
rt_verified_by_standard#yes | Yes
rt_verified_by_standard#no | No
separation_of_isobaric | Separation of isobaric/isomeric interferece confirmed | Was separation of isobaric/isomeric interferece confirmed by primary standards?
separation_of_isobaric#yes | Yes
separation_of_isobaric#no | No
model_for_separation_prediction | Model for separation prediction | Was a model used to predict lipid molecule separation?
model_for_separation_prediction#yes | Yes
model_for_separation_prediction#no | No
additional_dimension | Additional dimension/techniques | Were additional analytical dimensions applied?
additional_dimension#ims | IMS | Ion mobility spectrometry
additional_dimension#ozid | OzID
additional_dimension#uvpd | UVPD
additional_dimension#paterno-buechi | Paterno-Büchi
additional_dimension#other | Other
ccs_verified_by_standard | CCS verified by standard | Were standards used to check collision cross section (CCS) values?
ccs_verified_by_standard#yes | Yes
ccs_verified_by_standard#no | No
other_additional_dimension | Other additional dimension/techniques | Which other additional dimension/technique was used?
add_dim_used | How was/were the additional dimension(s) used? | For example: <i>For separation of isobaric/isomeric interferece</i>
model_predicted | Was a model used to predict lipid molecule separation? | Models can be for instance a collision cross section (CCS) model
model_predicted#yes | Yes
model_predicted#no | No
ident_soft | Lipid Identification Software | Which software was applied for lipid identification?
ident_soft#lipidxplorer | LipidXplorer
ident_soft#alex | ALEX123
ident_soft#lipidsearch | LipidSearch
ident_soft#lipidblast | LipidBlast
ident_soft#greazy | Greazy
ident_soft#lipidex | LipiDex
ident_soft#lipid_data_analyzer_(lda) | Lipid Data Analyzer (LDA)
ident_soft#lipidhunter | LipidHunter
ident_soft#lpptiger | LPPtiger
ident_soft#liquid | LIQUID
ident_soft#ms-dial | MS-DIAL
ident_soft#lipidms | LipidMS
ident_soft#lipidimms_analyzer | LipidIMMS Analyzer
ident_soft#ms-lamp | MS-LAMP
ident_soft#homemade | Homemade
ident_soft#other | Other
other_ident_soft | Other Lipid Identification Software | Which other lipid identification software was used?
data_manipul | Data manipulation | Which kind of data manipulation was applied?
data_manipul#smoothing | Smoothing
data_manipul#centroiding | Centroiding
data_manipul#lock_mass_correction | Lock mass correction
data_manipul#bg_sub | Background subtraction
data_manipul#other | Other
other_data_manipul | Other data manipulation | Which other data manipulation was applied?
nomenclature_molecule | Nomenclature for intact lipid molecule | Was the latest shorthand notation (doi: <a href="https://doi.org/10.1194/jlr.S120001025" target="_blank">10.1194/jlr.S120001025</a>) used for annotation?
nomenclature_molecule#yes | Yes
nomenclature_molecule#no | No
nomenclature_frag | Nomenclature for fragment ions | Was the recommended annotation of fragment ions (doi: <a href="https://doi.org/10.1371/journal.pone.0188394" target="_blank">10.1371/journal.pone.0188394</a>) applied?
nomenclature_frag#yes | Yes
nomenclature_frag#no | No
nomenclature_frag#n/a | N/A
ident_remarks | Further identification remarks | Do you have further remarks considering the identification?
quantitative | Quantitative | Is the lipid quantitatively identified, i.e. concentrations are reported?
quantitative#yes | Yes
quantitative#no | No
ms_level_quant | MS Level for quantification | Which MS level(s) was(were) used for quantification?
ms_level_quant#ms1 | MS<sup>1</sup>
ms_level_quant#ms2 | MS<sup>2</sup>
ms_level_quant#msn | MS<sup>n</sup>
internal_standard_ms1 | Internal lipid standard(s) MS<sup>1</sup> | Which internal standard(s) was/were used to quantify which endogenous lipid/lipid subclass? Example: <i>Cer 18:1;O2/12:0</i> for all <i>Cer 18:1;O2/XX:X</i>
internal_standard_ms2 | Internal lipid standard(s) MS<sup>2</sup> | Which internal standard(s) was/were used with which fragment(s) to quantify which endogenous lipid/lipid subclass? Example: <i>Cer 18:1;O2/12:0</i> with fragment <i>LCB-H2O3</i> for all <i>Cer 18:1;O2/XX:X</i>
type_of_quant | Type of quantification | How were the samples quantified?
type_of_quant#is_amount | Internal standard amount
type_of_quant#calib | Calibration line
type_of_quant#other | Other
other_type_of_quant | Other type of quantification | Which other type of quantification was used?
type_calib | Type of calibration line | Which type of calibration was used?
type_calib#matrix_based | Matrix based
type_calib#solvent_based | Solvent based
species_calibration_line | Species calibration line | Which lipid species were used for the calibrations?
response_corr | Response correction | Was the analytical response of individual lipid species corrected?
response_corr#no | No
response_corr#response_model | Response model
response_corr#one_factor | One factor for all species
type_i_corr | Type I isotope correction | <a href="https://doi.org/10.1016/j.jlr.2021.100138" target="blank">Type I</a> isotopic effect refers to the fact that the abundance (normalized to the sum of all isotopologues) of M+0 decreases and higher isotopologues increase with the number of carbon atoms.Was isotopic abundance of individual species corrected (Type I)?
type_i_corr#yes | Yes
type_i_corr#no | No
loq | Limit of quantification | Was limit of quantification applied?
loq#no | No
loq#s/n_ratio | S/N ratio > 10
loq#lowest_over_10 | Threshold 10x above lowest signal
loq#signal_theshold | Signal theshold
loq#other | Other
other_loq | Other limit of quantification | Which other limit of quantification was applied?
norm_ref | Normalization to reference | Was a normalization applied to a reference?
norm_ref#yes | Yes
norm_ref#no | No
quant_soft | Lipid Quantification Software | Which software was used for quantification?
quant_soft#lipidxplorer | LipidXplorer
quant_soft#alex | ALEX
quant_soft#lipidsearch | LipidSearch
quant_soft#lipid_data_analyzer_(lda) | Lipid Data Analyzer (LDA)
quant_soft#ms-dial | MS-DIAL
quant_soft#skyline | Skyline
quant_soft#homemade | Homemade
quant_soft#other | Other
other_quant_soft | Other Lipid Quantification Software | Which other software was used for quantification?
batch_corr | Batch correction | Was a batch correction applied?
batch_corr#no | No
batch_corr#normalization | Normalization by reference material/QC
batch_corr#other | Other
other_batch_corr | Other Batch correction | Which other batch correction was applied?
quant_remarks | Further quantification remarks | Do you have further remarks considering the quantification?